## Slide 1
Fast X-ray Tomography & Radioscopy Beamline
(FaX-ToR)
Proposers: F. Sketa, E. Solórzanob, J. Gómez Barreiroc
aIMDEA Materials Institute, Madrid, Spain
bUniversidad de Valladolid, Spain
cUniversidad de Salamanca, Spain
ALBA phase III – Evaluation of proposals
ALBA, December 3rd, 2014
E. Pereirod, J. Nicolasd
dALBA Synchrotron

## Slide 3
= 1 Word
An image of 1000x1000 pixel = 1,000,000 words
A average novel = 70,000 – 100,000 words
The amount of information is huge!!!
This information can be produced with the beamline we propose

## Slide 4
Introduction
How was the FaX-ToR proposal born?
  Groups & Industry interested in tomography
    +
  Experienced research groups
    +
  Cooperation & Projects
  +
  Complex experimental research
  (phase contrast, in-situ testing, fast tomo)
  Critical mass
  TOMOGRAPHY @ ALBA?

## Slide 5
Current panorama of SXCT in Europe
(e)
User community and synchrotrons
Overload factor for tomography is by far higher than for other techniques. e.g.: ESRF(4), TOMCAT (2)
MULTIDISCIPLINARY & VERSATILITY

## Slide 6
Attract new fields of research
Industrial applications
High impact publications (nature science, PNAS, etc)
High demands

## Slide 7
Lab- µCT
Synchrotron Radiation features important for imaging:
High Brilliance  real time experiments, ultra fast acquisition times
Tunability  posibility of using monochromatic beam, use of the most suitable energy for a certain experiment/material
Coherence  phase contrast
Combination with other techniques available at the beamline (e.g. diffraction)
Synchrotron Tomography
- High resolution
- Non-destructive
- Larger volumes
- Reveal phases
X-ray-based imaging and tomography

## Slide 8
Fast
radioscopy
Fast
SXCT
In-situ
SXCT
SXCT
Scientific cases
Molten metal dynamics
Bubble nucleation
Creep in metals
Multi-disp.

## Slide 9
Research examples 1
Fast radiography
Kinetic processes in molten metals

## Slide 10
Capillary diffusion in binary alloys
Al
Thermocouples
Mo heating wires
Al10Ni
Vaccum
Diffusion is a rather slow process  1 fps  lab experiments
A. Griesche, B. Zhang, E. Solórzano, F. Garcia-Moreno
X-ray radiography for measuring chemical diffusion in metallic melts
Rev. Sci. Instrum. 81, 056104 (2010)
Beer-Lambert Law:
It is possible to change intensities into concentrations by using proper calibration

## Slide 11
Solidification of AlCu20 alloys
R.H. Mathiesen∗, L. Arnberg Materials Science and Engineering A 413–414 (2005) 283–287
Stray crystal formation in Al–20 wt.% Cu studied by synchrotron X-ray video microscopy
Primary aluminium dendrites are lighter than the melt and experience buoyancy
Directional solidification experiments parallel and antiparallel to gravity show significant differences in stray crystal formation tendency
Constant pulling or pushing velocity to cold furnace compartment
7.5 to 75.0m/s
Temperature gradient was varied between
11–50 K/mm
Temporal resolution (2005)
0.15 (exposure times 100 ms)
g
+
_
+
_

## Slide 12
Thixocasting of Al-Ge alloys
S. Zabler, A. Ershov, A. Rack, F. Garcia-Moreno, T. Baumbach J. Banhart
Particle and liquid motion in semi-solid aluminium alloys: A quantitative in situ microradioscopy study
Acta Materialia 61 (2013) 1244–1253
Data acquisition rate of 67 frames/s employing a polychromatic X-ray beam
Fast injection of semisolid slurry into the mould

## Slide 13
Coalescence of bubbles in aluminium foam

## Slide 14
Research example 2
(Ultra) Fast tomography
Physics of bubble nucleation

## Slide 15
7Hz tomography
Nanocomposite foams: materials for the future (and present)
Reactive polyurethane & nanofillers:
Enhancement of bubble nucleation
Why??? How???
Development of miniature in-situ mixing set up!!

## Slide 16
Physics of bubble nucleation
Neat PU formulation
PU with nanoclay
Neat PU
PU + 3% nanosilica

## Slide 17
Cell density
Cell size
Direct determination
Constant nucleation rate
Nanosilica (wt. %) | Chetfhet
0 | 5.8·103
3% | 1.5·105
Physics of bubble nucleation
Constant pore growth
Agreement with models

## Slide 18
Research example 3
In-situ tomography
Mechanisms of creep in metals

## Slide 19
Creep tests at constant load:
- Brass:  = 25 MPa, Tb= 400ºC
- Steel:  = 210 MPa, Tb= 740ºC
- Copper:  = 25-87 MPa, Tb= 300-500ºC
Materials:
- CuZn40Pb2 (, , Pb)
- Martensitic Stainless Steel 1.4112
(X90CrMoV18)
- OFHC Cu
Experimental Details – In situ creep test
In-situ: ID15 ESRF (Grenoble, France)
pink synchrotron radiation (~80 keV, bandwidth:~50%)
time resolution: 3 min per tomogram
pixel size: 1.6 µm

## Slide 20
Dt
Experimental values of local strain – Steel
σ0
σ
Local creep curves for various slabs of 10 slices each.
Each slab represent a creep test at its specific temperature and stress
Different behavior of the local creep curves due to difference in temperature and stress

## Slide 21
Apparent activation energy - Steel
Steady-state strain-rate follows an Arrhenius law
Values of Qa from-in situ tests are equal within an error of 5% of the value obtained from the conventional method (377±30kJ mol-1)

## Slide 22
Individual Cavity Evolution
16μm
a ≈ 45
µCT + image processing
allows to follow the evolution of cavities and compare real 3D void growth with the theories of void growth

## Slide 23
Multidisciplinarity
Research example 4

## Slide 24
Flow fields computed on sandy samples
Sand pack
Sandstone
Limestone
Displacement
Prob. Displ. // Main flow
Retarded plume
Stagnant plume
Applicable to several fields:
- Earth science
- Soil aggregates
- Porous materials (foams)
- Fibre reinforce composites (manufacturing)
- Gas lickage
- Oil industry

## Slide 25
Elementary pore-scale displacement processes in real-time observed at TOMCAT
* Interaction oil – Water during in situ injection
In water saturated Berea sandstone.
* Competition between wetting (water) and
nonwetting (oil) fluids
* Activation of complex events
(e.g. Haines jumps)
* Quantification of those events is critical to understand hysteresis and oil entrapment.
Berg et al. (2013) PNAS
www.pnas.org/cgi/doi/10.1073/pnas.1221373110--
@ 21.25 keV voxel width 3mm
Each tomogram 1,401 projections (12 ms exposure time) over 180°
Total acquisition time = 16.8 s
Geology/oil extraction technology

## Slide 26
Climate change mitigation: dynamical monitoring of CO2 storage
Voltolini & Ajo-Franklin (2013)NGCG
Interaction of CO2 @ reservoir:
Determines system physicochemical fate
Carbonates reservoir rocks are common
and complex  Dissolution
Dynamical monitoring of:
*Dissolution-induced changes (pores)
*Impact on permeability, diffusivity,
entry pressure…
*Leak risk, injection conditions…
ALS-Berkeley
Geoscience/Enviromental

## Slide 27
Imaging of different forms of tumour angiogenesis:
Oral squamous cell carcinoma
Ex vivo 3D analysis of tumour angiogenesis and vascular system architecture
Need for
Improvement of prognosis
Development of new
(anti-angiogenic)
treatment options
One of the most common
/highest mortality
Pabst et al. 2014
Biomedical

## Slide 28
From: Evaluation of microstructural properties of coffee beans by synchrotron X-ray microtomography: a methodological approach. P. Pittia, G. Sacchetti, L. Mancini, M. Voltolini, F. Brun, G. Tromba, N. Sodini, F. Zanini. Journal of Food Science (2011) 76(2), E222-E231.
Microstructures can have a direct influence to the taste of our favorite drink  coffee
Food science

## Slide 29
Teeth in hominids: a window into their health
Teeth: hardest material in our body, source of pain, biological and social information (diet, health, growth rates…).
Human fossils very rare → non-destructive technique
Hublin Nature (2013)
Atapuerca (Burgos) the most important site in palaeoanthropology of the world
Root extension rate
Macchiarelli et al. (2006)
ID17@ERSF
50-70 keV 45μm
Paleontology

## Slide 30
100 Ma Fossil inclusions in opaque amber
Lak et al. (2008) Micro.Micro, 14:251
ID 19 @ ESRF
Paleontology

## Slide 31
Beamline concept, layout and requirement
Scheme of the synchrotron X-ray Tomography

## Slide 32
Beamline layout
Technical requirement | Expected value
Energy range | 10-55keV
Min Flux | 7x1012 photon/s/mm at 50keV and 0.1%BW
Max Flux | 1018 photon/s/mm in white beam
Beam type | White beam Monochromatic beam (2-3% bandwidth) Monochromatic beam (0.1% bandwidth)*
Max spatial res | Better than 1 micron
Max. FOV | 30x12mm
Max temp. res | Better than 1ms/image
Available techniques | Absorption Tomography Phase contrast tomography Holotomography Absorption-edge Tomography Fast tomography & radioscopy Nanotomography, topography, laminography*
Technical requirements
Optical layout

## Slide 33
Source
The imaging beamline requires a small source to achieve the 0.5-1µm spatial resolution and quite large divergence, with high flux in the range between 10 and 50 keV.
Proposed Solution:
Mini-beta section + Wavelength shifter
Hybrid in-vacuum
Permanent magnet (NdFeB)
Gap 8mm
Max. peak field 2.75T
Magnetic length 400mm
Total length 800mm
S14-BL31
Phase space distribution @ 20keV
Size & divergence

## Slide 34
Source size [mm]
Side lobe
Source size for 1mrad horizontal acceptance
Source properties
Flux integrated in 1 mrad, compared to the source of a bending magnet

## Slide 35
Monochromators
Multilayer & Si(111)
High spectral resolution
High flux
Monochromators inside the tunnel to minimize limiting the vertical size
Mono. limited vertical acceptance
DMLM @ 11.5m
@20 keV the full beam is accepted
Detail FEA to analyze power load is required

## Slide 36
Experimental Hatch
Optical table with wheels (2.3x1.5m)
Long X stage
  50kg, ±1µm (for phase contrast and holotomo)
Short Y stage
  Range 300mm (for flat fields images)
Z stage & 3-point tip tilt table
  For Z, phi and psi angles (range over 1º and accuracy 0,005º)
  Range 200mm
Rotating stage
  High speed (200-600rpm)
  High precision
  Feedthrough contacts
X-Y micropositioner
  Piezomotors range 6mm
Sample holder
  Magnetic or customized
Sample positioning system

## Slide 37
Experimental Hatch:
Detectors
Two detectors are envisaged
3 Objectives (x1.25, x4, x10)
  Spatial resolution: ~4.8, 1.5, 0.6 µm
Motorized focus
Motorized nosepiece for 3 objectives
Tiltable single scintillator support
Reduced numerical aperture and lower resolution
1(2) Objectives (x4, x10)
  Spatial resolution: ~2.5, 1.5 µm
Motorized focus
Bending
mirror
16bit
dynamic range 36000:1
Low noise (0.8e-)
2048x2048 (pix. 6.5µm)
420fps (1000x1000)
12bit
2048x2048 (pix. 11µm)
Memory 36GB
7039fps (1000x1000)
5469fps (1400x1050)
2277fps (2000x2000)

## Slide 38
Tensile/compression/fatigue rig + Temperature
  Load=2-5KN, strain rate=0.1-10µm/s, temperature=RT-1200K
High temperature furnace
  500W halogen lamps + golden parabolic mirrors Vacuum or inert gas
Cryogenic cell
  -150ºC, double layer cylindrical chamber
High pressure cell
  250bar, 250ºC, gas atmosphere,
Infiltration device
  For simulated VARTM process
Steering device
  Foam creation
Electrochemical cell
  Corrosion studies
Experimental Hatch:
Sample environments
In-situ devices that are considered in the proposal

## Slide 39
High capability CPU cluster for fast reconstruction
Cluster update (medium capacity cluster currently at ALBA)
Data storage (now 400TB) => other 800TB? (considered in the proposal but discussable)
  8 month data storage policy (1-2TB/day collection)
Computing and data storage
Fast tomography generate large data set that need to be computed (and stored)
Normal modus operandi of synchrotrons: users should take home the full treated data sets before the campaign is ended

## Slide 40
Budget (1/2)
Beamline Optics | Price (k€)
UHV, mechanics, gate valves, control | 205
Insertion device | 797
Monochromator and mirror optics | 448
Vacuum guide and CVD window | 40
Front end | 163
SUBTOTAL | 1653
Lead Hutch | 
X-ray shielding | 302
SUBTOTAL | 302
Experimental end-station | Price (k€)
Beam limiter (X-Y slits) | 30
Beam Shutter II | 18
Optical table | 90
Long X translation Axis | 120
Short Y translation Axis | 37
Z elevation 3-point tip-tilt table | 75
Rotating stage, high speed, trough contacts | 160
X-Y micropositioners | 12
Sample holder system | 6
Motor controllers | 45
White beam microscope | 38
Monochromatic beam microscope | 55
PCO DIMAX camera and accessories | 74
PCO Edge camera and accessories | 22
Scintillators | 18
Computers, monitors | 8
SUBTOTAL | 808

## Slide 41
Budget (2/2)
Experimental end-station (sample environments) | Price (k€)
Tensile test rig | 20
1200K furnace | 38
Cryogenic | 26
High pressure cell | 20
SUBTOTAL | 104
Computation and data storage | 
CPU cluster | 122
800Tb storage (8 months storage data policy; collecting 1-2 Tb/day) | 626
SUBTOTAL | 748
Infrastructure | 
Conventional hutch (furniture & air conditioning included) | 35
Supplies infrastructure | 165
SUBTOTAL | 200
Total | 3815 k€
CONTINGENCY (10%) | 382 k€
TOTAL | 4197 k€

## Slide 42
… and after construction & commissioning process???

## Slide 43
  One particular unexplored field using in-situ experimentation: Fluid infiltration in rocks under high pressure conditions
  Non-conventional crude oil extraction
First academic experiment
Best caracteristics of the beamline:
Speed
Phase contrast
Sample enviroment
+

## Slide 44
    Industries interested in the technique:
    ITP (Solidification process in Ti- & Ni-alloys => phases and porosity)
          Airbus (manufacturing defects and damage in CFRP)
          Repsol (3D Microstructure of rocks & non-conventional extraction)
          Tolsa (3D Microstructure of Composite Polymeric materials)
          The realization of projects with these and other companies is feasible since the proposers are currently undergoing projects with these companies
          Advertisement plan in collaboration with Industrial laison office at Alba
First foreseen industrial experiment

## Slide 45
  Fast tomography with an added value  In-situ devices:
  Simpler for users
  Increase success rate of experiment
  “Standard” testing procedures for in-situ studies.
  Participation of companies and partial funding of new special devices available for all users
  Oil extraction
  Water treatment
  Materials processing
Single scientific field/technique –Leading BL-

## Slide 46
  So far, only 2(3) beamlines with such temporal/spatial resolution in Europe: ID19,(ID15), TOMCAT
  Risk 1: Plan of many other already developed beamlines to focus on fast tomography with emphasis on in-situ testing?
  Still possible to success in a continuously growing user community with several application field
  Risk 2: XFEL. Imaging in the pico- or fempto- second and nm scale.
  Is another time and spatial scale => complementary technique
  Risk 3: Lab X-ray developments promise to achieve higher brilliance and sensibility.
  Far from quality and brilliance of synchrotron.
  This is actually more publicity for this beamline.
Risk assessments: Scientific developments elsewhere

## Slide 47
    This beamline concept is rather simple No technical risks are foreseen
    Components could actually reduce their value
    The expected return to society is high and valuable
    We expect overload factor in the beamtime request
    Manpower
    Software and hardware integration for “in-line” reconstruction
Risk assessments: Delay, cost increase, realization…

## Slide 48
The creation of this beamline would be very interesting both for the Spanish and International scientific community.
The high brilliance of the proposed beamline provides the possibility for performing 3D time-resolved experiments at a temporo-spatial resolution in leading European beamlines in this issue
In-situ testing using the propose testing devices opens up new possibilities for characterization with experienced ALBA scientists
Conclusions
Synchrotron tomography is a powerful tool for 3D characterization for a wide field of disciplines (materials science, biomedical science, geology, environment, cultural heritage, biology, palaeontology, etc)
Notes: 48

## Slide 49
Also contributing to this proposal
Prof. José A. Yagüe Fabra – Universidad de Zaragoza
Dr. Bart Bijens – Universitat Pompeu Fabra
Dr. Vicente Gomez Ruiz de Argandona – Universidad de Oviedo
Prof. Guillermo Requena – Technical University of Vienna
Dr. Francisco García Moreno – Helmholtz-Zentrum Berlin
staff

## Slide 50
Juan Gómez Barreiro – Universidad de Salamanca – High pressure and temperature of geological materials
Rocío Campos Egea – CIEMAT – Geological materials
Josep Costa Balanzat, Universidad de Girona, Composite Materials.
Jaime C. Gálvez, Universidad Politécnica de Madrid – Fracture of Steels and Cement based material
Luis E. Hernández, Universidad Autónoma de Madrid – vegetal materials
Javier Sánchez, Científico Titular, Instituto de Ciencias de la Construcción Eduardo Torroja (IETcc-CSIC), Modelado y Durabilidad de Estructuras, Cementos
Marcos Lanzón, Universidad Politécnica de Cartagena - Materiales de Construcción, Alteración de piedra y materiales de interés patrimonial.
David A. Cendón Franco, Universidad Politécnica de Madrid, Metallic materials
Fernando San Jose Martinez, Universidad Politécnica de Madrid - Cuantificación de la estructura de suelo
Fernando A. Lasagni, Materials & Processes Department Center for Advanced Aerospace Technologies (CATEC), Composite materials and metal alloys
User group actively supporting the proposal
Vicente Gomez Ruiz de Argandona, Grupo de Tomografía de Rayos-X, Universidad de Oviedo, Geomaterials
Gerardi Garcés Plaza, CENIM, Multiphase metallic materials
José Antonio Yagüe, Universidad de Zaragoza, Metrology, Image treatment
Lucia Franco Ferreira, Aimen, NDT, dimensional metrology, material characterization
Alberto Mendikute, IDEKO, Image treatment, non-destructive testing
Joost van Duijn, Universidad de Castilla-La Mancha – Pilas combustibles de oxido solido
Vicente Amigó Borrás, Universidad Politécnica de Valencia, Titanium alloys characterization
Carlos Capdevila, Grupo Materalia del CENIM-CSIC, Fe-based alloys, steels
Lander Galdos, Universidad de Mondragon - Super Plastic Forming of Aluminium Sheets.
Pedro Bravo, Universidad de Burgos, HPDC of Mg alloys, polymers
Juan Carlos Suárez Bermejo, Universidad Politécnica de Madrid, Materiales Híbridos estructurales (orgánico/inorgánico), adhesivos, mecanismos de daño.

## Slide 51
User group actively supporting the proposal
Eusebio Solórzano, Universidad de Valladolid, Cellular materials, technique development
Diego Val, GRUPO ANTOLIN-IRAUSA, S.A., Magnesium and aluminium alloys
Ricardo Arenas Martín- Universidad Complutense de Madrid. Petrología y geoquímica de rocas metamórficas de alta Presión
Antonio Álvarez Valero, Universidad de Salamanca – potencial explosividad volcánica, flujo de gases en volcanes.
José Ramón Martínez Catalán - Universidad de Salamanca. Tectónica y geofísica
Puy Ayarza – Universidad de Salamanca. Geofísica: Sísmica y Magnetismo
Jose Manuel Benítez Pérez. Universidad de Salamanca. Difracción neutrónica y microestructura
Emilo González Clavijo. Instituto Geológico y Minero de España. Tectónica y Recursos naturales
Mercedes Suárez Bárrios. Universidad de Salamanca. Cristalografía y Mineralogía
Carlos González. IMDEA Materials (Madrid). Fibre reinforced polymers
Teresa Perez Prado. IMDEA Materiales (Madrid). Light metal alloys
Jon Molina. IMDEA Materiales (Madrid). Micro- and Nano- mechanics metallic materials
Federico Sket. IMDEA Materiales (Madrid). FRP; light metal alloys; steels
Alicia Rodríguez Barbero (Universidad Salamanca). Fisiopatología Renal y Cardiovascular
Total Number of groups = 35
But…, there are research groups not aware of the proposal which may benefit from it…

## Slide 52
THANK YOU FOR YOUR ATTENTION