## Slide 1
BL22-CLÆSS
XAS
XES
Core Level Absorption & Emission Spectroscopies
Laura Simonelli

## Slide 2
BL22-CLÆSS
Core Level Absorption & Emission Spectroscopies
The completed CLÆSS team
Wojciech Olszewski
Carlo Marini
Marta Avila
Laura Simonelli

## Slide 3
OUTLINE
    Beam time allocation
    Users feedback
    Users/IH research
    BL22 status
    Future and perspective
Wojciech Olszewski
Carlo Marini
Marta Avila
Laura Simonelli

## Slide 4
    Beam time allocation

## Slide 5
    Users feedback received during 2013

## Slide 6
    Users feedback received during 2013

## Slide 7
Solid State Physics
Environmental Science
Catalysis
Cultural Heritages
Artificial Photosynthesis
    Users/IHR production
Batteries

## Slide 8
    publications
Exceptional oxidation activity with size-controlled supported gold clusters of low atomicity
Avelino Corma et al., NATURE CHEMISTRY 5,775 (2013)
Low-Temperature Oxidation of Carbon Monoxide with Gold(III) Ions Supported on Titanium Oxide
Wolfgang Grünert et al., Angew. Chem. Int. Ed. 2014, 53, 3245 (2014)
Isomerization of -pinene oxide using Fe-supported catalysts: Selective synthesis of campholenic aldehyde
Martina Stekrova et al., Applied Catalysis A: General 470, 162 (2014)
Strong local lattice instability in hexagonal ferrites RFe2O4 (R = Lu,Y,Yb) revealed by x-ray absorption spectroscopy
Sara Lafuerza et al., PHYSICAL REVIEW B 89, 045129 (2014).
Solid State Physics
Catalysis

## Slide 9
    Users research
Courtesy of T. Pradell
Cultural Heritages
(first fluorescence scans Dec. 2013)

## Slide 10
Rev Sci Instrum.
Catalysis
(high pressure reactor – up to 200 bar)
XANES spectra at the Cu K-edge of Cu/ZnO/Al2O3 catalyst during the pre-reduction at 70 bar under the flow of 5% H2 in He
A. Bansode, G. Guilera, V. Cuartero, L. Simonelli, M. Avila and A. Urakawa, Submitted to Rev. Sci. Instrum.
Reaction
XANES spectra collected at three reaction temperatures over Cu/ZnO/Al2O3 catalyst at CO2:H2 = 1:3 and 200 bar.
    Users research

## Slide 11
XAS study on the crystal and electronic structures of Fe(FeOx)/Ir(IrO2) multilayers.
Solid State Physics
FT of the Ir L3 edge EXAFS
FT of the Ir L3 edge EXAFS
The results indicate a fully oxidized Fe layer with a very similar crystal structure in all the samples. The Ir shell, on the other hand, evolves from pure metallic to a mixture of metal and oxide phases and finally to pure IrO2.
Differences in the M(H) behavior can be associated to the state of the Ir layer.
Courtesy of Maria Ángeles Laguna Marco
    Users research

## Slide 12
k(Å-1)
R(Å)
k2c(k)
|FT(k2c(k))|
GaFeO3 hex
Fe-Ga local force constant
GaFeO3
Combined analysis of Fe and Ga local environment
Local structure determination
    IHR
W. Olszewski et al., in preparation
Solid State Physics

## Slide 13
    IHR
Study of the Co-O / Co-Co local force strength as a function of sodiation/desodiation
Batteries
M. Avila et al., in preparation

## Slide 14
BL22 Status
    Flux and stability
    (≈ 1012 ph/s – beam displacement in ±10-15 µm)
    Energy range
    (2.4 – 70 keV)
    Safety
    (external gas cabinet – integrated gas detectors)
    Experimental setups
    (remotely controlled temperature: 80-700 °C
    Solid-gas reactor: 80-700°C / A.P.-8 bar)
    Scan mode
    (Continuous scan in transmission and fluorescence mode)
    CLEAR
    (under commissioning)

## Slide 15
Rh L3
Flux at the sample from 2.4 to 70 keV
≈ 1012 ph/s
(Front end slits 1x10 (VXH) mm2)
Beam flux and energy range
Energy range accessible up to 2013
Pt

## Slide 16
SAC 16. 06/17/2013
Low Energies | Middle Range | High Energies
Ti K edge (4966 eV) | Pd K edge (24.350 eV) | 
Ta K edge (67.416 eV)
Beam flux and energy range
k-edges (low photon flux)
k-edges
L-edges

## Slide 17
BL22 Status
    Beam displacement during a 1.1 keV scan (up to ±7 µm)
    (investigated at different energies and with both Si(111) and Si(311) monochromator)
    MOCO in position mode
≈ 100 x 220 µm2 (V x H)
Si(311) Si(111) MOCO
Mn 25±5 µm 20±5 µm ON
Mn 360±10 µm 270±10 µm OFF
Co 20±5 µm 60±5 µm ON
Co 440±10 µm 220±10 µm OFF
Ni 15±5 µm 35±5 µm ON
Ni 310±10 µm 200±10 µm OFF
Fe 30±5 µm 25±5 µm ON
Fe 330±10 µm 360±10 µm OFF
Cu 20±5 µm 35±5 µm ON
Cu 310±10 µm 200±10 µm OFF

## Slide 18
BL22 Status
    Safety
    New gases cabinet, CO and flammable dedicated detectors installed outside and inside the experimental hutch

## Slide 19
BL22 Status
    Experimental setups
In-situ cell for catalysis
LN2/furnace system
In line NAVITAR camera (I. Sics)
WD = 55mm
Coaxial illumination
NAVITAR 6000 lens
X-ray
High spatial resolution
T = 80 – 1000 K
New prototype of in-situ cell for catalysis:
Transmission and fluorescence geometry
T = 80 - 1000 K
In vacuum (low energy accessible)
Expected pressure range below 20 bar
Iulian Preda et. al, working in progress
T = 300 – 1000 K
Pmax = 8 bar
Fluo. & transm.
T = 80 – 1000 K
Pmax = 4 bar
Transmission

## Slide 20
BL22 Status
    XAS scan mode
    Continuous scan in transmission mode
    E < 30 keV
    ≈ 5 (10) min per scan XANES (EXAFS)
    Up to 4000 points
    Step scan in transmission and fluorescence mode
    2.4 < E < 70 keV
    ≈ 10 (60) min per scan XANES (EXAFS)
    Continuous scan in fluorescence mode
    E < 30 keV
    In commissioning since June 2014

## Slide 21
BL22 Status
    CLEAR
First fixed radius analyzer prototype in commissioning –first users on Dec. 2014
Final analyzer bender project ready for Feb. 2015
CLEAR installation on CLÆSS
April 2014
x-ray emission spectrometer (2-22 keV)
In commissioning from May 2014
Si(555) reflection on Mythen
Verbeni’s Si(555) diced 3·103 cps
5 Si(555) diced stripes
660 cps → 4·103 cps for a full Verbeni diced analyser
x 10 sec
x 1 sec

## Slide 22
    Future and perspective
    Liquid He cryostat
    4 K < T < 300 K
  Developed in ESRF (Peter Van Der Linden)
  In collaboration with MSPD
  Expected operational from 2015

## Slide 23
    Future and perspective
  Developed in the ITQ in collaboration with MSPD
  Expected operational from 2015
    New liquid-solid-gas reactor cell
    300 K < T < 1000 K
    P < 20 bar

## Slide 24
    Future and perspective
    Beam size reduction – Be lenses ?
VERTICAL PLANE
HORIZONTAL PLANE
IMAGING ?
High-PRESSURE ?

## Slide 25
XAS Chemical, electronic, and structural information (2.4 - 70 keV)
XES electronic, magnetic, and structural information (2 - 22 keV)
BL22-CLÆSS: XAS & XES
  Beamline performance:
    Continuous scan in transmission mode (5-10 min scan)
    XAS in transmission and fluorescence detection mode
    XES – first analyser prototype expected operational from 2015
    Stable beam-position (±10 μm) and beam-size (200-500 μm) for 2.4 < E < 70 keV
  Experimental set-ups:
    Remote temperature controller from 80 K to 800 K
    In-situ cell for solid-gas reactions (80 K – 700 K)
  3. Low temperature cryostat (4 K – 300 K) - Expected operational from 2015

## Slide 26
Thanks to:
Old and new CLÆSS team:
Konstantin Klementiev, Gemma Guilera, Vera Cuartero,
Laura Simonelli, Carlo Marini, Marta Avila, Wojciech Olszewski
Mechanical Engineers: Llibert Ribó
Electronic Engineers: José Ávila
Controls Engineers: Roberto Homs
Collaborators: Olivier Mathon (ESRF-Grenoble), Atsushi Urakawa’s group (ICIQ-Tarragona), Fernando Rey’s group (ITQ-Valencia), Joaquín García’s group (ICMA-Zaragoza).
Technicians: José Prieto, Edmundo Fraga
SAC 16. 06/17/2013
Special thanks to: Josep Nicolás, Igors Sics, Salvador Ferrer, Iulian Preda, Yury Nikitin, Zbigniew Reszela, Ricardo Valcárcel, Daniel Roldán, Marc Rosanes, Robert Oliete, Rafael Montaño, Jerzy Jamroz, Jordi Navarro, Francesc Farré, David Fernández, Óscar Matilla, Guifré Cuní, Alejandro Crisol, Fabien Rey, Marta Llonch, Carles Colldelram, José Ferrer, Carme Mármol, Xavier Queralt…