## Slide 1: Em# Collaboration Meeting
July 20-21, 2020

## Slide 2: Why Em#?
Needs & Aims
  High-accuracy low-current measurement.
    Different sources with different nature
  Both diagnostic and acquisition
  Low noise coupling
  Compensation for low-frequency drifts
    Feedback signal
Target
  Generic platform
  Modular design
  Transimpedance amplifier based
  4x independent channels